## Slide 1: BONE AGE PREDICTION
Submitted by:
Aruna Gurung
Parminder Kaur
Rewant Sharma
Rohit Kumar
Saurabh Gangwar

## Slide 2
Application of Bone Age Prediction:
Diagnosis of Growth disorders
Orthopaedics
Forensic Medicine
Paediatric care, etc
Project Objective:
Our project aims to accurately predict bone age using X-ray images leveraging Convolutional Neural Networks (CNNs) and other deep learning models.
INTRODUCTION
01

## Slide 3: TASK DISTRIBUTION
Name | Task
Aruna Gurung | EDA, Presentation
Parminder Kaur | Report & Documentation
Rewant Sharma | Model Building
Rohit Kumar | Model Building, Model Evaluation
Saurabh Gangwar | Data Preprocessing, Model Deployment

## Slide 4: DATASET OVERVIEW 02
Dataset Description: hand X-ray images of people.
Dataset Size: 10GB
Source: Kaggle
Training dataset: 12,611 images with corresponding bone age annotations.
Test Dataset: Images without labels.

## Slide 5: DATA CLEANING & PREPROCESSING
Resized images to 224x224 px and scaled pixel values in the range [0,1]
Used denoising to reduce noise
Enhanced contrast to improve bone structure visibility
03
Image Resizing & Normalization
Noise Reduction
Contrast Enhancement
Focused on extracting the central region of the image where the hand is located
ROI (Region of Interest) Extraction
‘male’ column transformation using mapping
Added Gender Feature

## Slide 6
EXPLORATORY DATA ANALYSIS
04
Bar chart representing higher no.of male instances compared to female instances. Relatively balanced distribution which is important for unbaised model training.
The distribution is concentrated towards older children, with the highest frequency of bone ages between 100 & 150 months indicating more samples from this specific age range in the dataset.

## Slide 7
Images from Training Dataset
Before Preprocessing
After Preprocessing

## Slide 8: MODEL USED
05
Convolutional Neural Network (CNN) for bone age prediction. It includes a convolutional layer with 32 filters, followed by a max-pooling layer, a flattening layer, and two dense layers. The final dense layer has a single output neuron with a linear activation function, indicating that the model is designed for a regression task to predict bone age.

## Slide 9: RESULT 06

## Slide 10: HYPERPARAMETER TUNING
07

## Slide 11: DEMO

## Slide 12: CONCLUSION
We were able to successfully predict bone age from X-ray images

## Slide 13: THANK YOU